## Table S1
American Mineralogist: July 2017 Deposit AM-17-76028
XING AND WANG: CL IMAGES AND TRACE ELEMENT COMPOSITIONS OF FLUORAPATITE
Supplemental Table S1: Measured trace element concentrations of NIST SRM 610 and 612 comparing with recommended values from Pearce et al. (1997)
| NIST SRM 610 |  |  |  | NIST SRM 612
Trace elements (ppm) | Recommended | ±1stdev | Measured (n=18) | ±1stdev | Recommended | ±1stdev | Measured (n=12) | ±1stdev
Mn | 433.3 | 31.8 | 483.0241 | 3.6259 | 38.43 | 0.99 | 41.63 | 0.91884
Fe | 457.1 | 22.2 | 455.3931 | 12.6395 | 56.33 | 17.14 | 59.123 | 11.2597
Sr | 497.4 | 18.3 | 515.8673 | 3.0596 | 76.15 | 2.29 | 77.8728 | 1.0208
Y | 449.9 | 19.3 | 450.4941 | 2.7445 | 38.25 | 2.14 | 37.2815 | 0.60454
Zr | 439.9 | 7.8 | 440.3156 | 2.4086 | 35.99 | 1.25 | 37.5674 | 1.1332
Hf | 417.7 | 28.2 | 431.0968 | 2.4691 | 34.77 | 3.65 | 36.5029 | 0.81022
La | 457.4 | 72.4 | 456.2371 | 2.3111 | 35.77 | 2.15 | 37.054 | 0.59903
Ce | 447.8 | 16.8 | 448.692 | 2.5743 | 38.35 | 1.64 | 37.6867 | 0.63151
Pr | 429.8 | 30 | 430.9522 | 2.2948 | 37.16 | 0.93 | 35.8015 | 0.36773
Nd | 430.8 | 37.5 | 431.4114 | 2.898 | 35.24 | 2.44 | 35.3179 | 0.80473
Sm | 450.5 | 20.6 | 451.279 | 3.0204 | 36.72 | 2.63 | 37.7237 | 0.96362
Eu | 461.1 | 52.1 | 460.1951 | 2.6371 | 34.44 | 1.59 | 36.3357 | 0.7422
Gd | 419.9 | 25.2 | 443.608 | 3.0093 | 36.95 | 1.06 | 37.3894 | 1.259
Tb | 442.8 | 22.4 | 442.2917 | 3.0457 | 35.92 | 2.68 | 37.1739 | 0.45874
Dy | 426.5 | 18 | 427.7886 | 2.7676 | 35.97 | 0.82 | 34.8608 | 0.82864
Ho | 449.4 | 24.6 | 449.213 | 2.2353 | 37.87 | 1.09 | 37.6975 | 0.60946
Er | 426 | 23.9 | 427.5694 | 2.3466 | 37.43 | 1.5 | 35.7471 | 0.68277
Tm | 420.1 | 19.2 | 421.6917 | 2.4492 | 37.55 | 1.25 | 35.5755 | 0.40692
Yb | 461.5 | 30.6 | 445.994 | 3.6265 | 39.95 | 2.86 | 37.7727 | 0.76143
Lu | 434.7 | 31 | 435.6206 | 1.9295 | 37.71 | 1.95 | 35.9807 | 0.49623
Th | 450.6 | 27.8 | 457.5131 | 2.6048 | 37.23 | 0.72 | 37.3368 | 0.46036
U | 457.1 | 13.6 | 461.6823 | 2.8916 | 37.15 | 1.23 | 37.1353 | 0.63399
Reference: Pearce NJG, Perkins WT, Westgate JA, Gorton MP, Jackson EE, Neal CR, Chenery SP. 1997. A compilation of new and published major and trace element data for NIST SRM 610 and NIST SRM 612 glass reference materials. Geostand Newsl 21: 115–144