## xnt-bro standards
American Mineralogist: July 2016 Deposit AM-16-75532
ANDERSEN ET AL.: HFSE(+HREE) MINERALIZATION PERIPHERAL TO CARB
Appendix Table 1. Analytical settings and standards used for WD EPMA of xenotime and brockite.
JEOL 8500, Accelerating voltage: 20 kV, Current: 20-50 nA, Beam diameter: 2-10 μm
Element | X-ray Line | Crystal | Standard | On Peak Time | Off Peak Time | Avg. detection limit (wt.%)
F | Kα | TAP | apatite | 80 | 40 | 0.096886
Si | Kα | TAP | albite | 100 | 50 | 0.0057572
P | Kα | PETH | NdPO4 | 40 | 20 | 0.0044217
S | Kα | PETH | barite | 60 | 30 | 0.003012
Ca | Kα | PETJ | apatite | 50 | 25 | 0.0092295
V | Kα | PETJ | V | 60 | 30 | 0.016319
Fe | Kα | LiF | pyrite | 40 | 20 | 0.013383
Sr | Lα | PETH | apatite | 40 | 20 | 0.015823
Y | Lα | PETH | YPO4 | 40 | 20 | 0.014855
Ba | Lα | PETJ | Ba2NaNb5O15 | 60 | 30 | 0.029018
La | Lα | PETJ | LaPO4 | 70 | 35 | 0.032253
Ce | Lα | PETJ | CePO4 | 60 | 30 | 0.040786
Pr | Lα | LiF | PrPO4 | 40 | 20 | 0.047966
Nd | Lα | LiF | NdPO4 | 40 | 20 | 0.045947
Sm | Lα | LiF | SmPO4 | 40 | 20 | 0.039422
Eu | Lα | LiF | EuPO4 | 40 | 20 | 0.037834
Gd | Lα | LiF | GdPO4 | 40 | 20 | 0.037782
Tb | Lα | LiF | TbPO4 | 40 | 20 | 0.036938
Dy | Lα | LiF | DyPO4 | 40 | 20 | 0.038765
Ho | Lβ | LiF | HoPO4 | 40 | 20 | 0.073051
Er | Lα | LiF | ErPO4 | 40 | 20 | 0.038178
Tm | Lα | LiF | TmPO4 | 40 | 20 | 0.038273
Yb | Lα | LiF | YbPO4 | 40 | 20 | 0.038164
Lu | Lα | LiF | LuPO4 | 40 | 20 | 0.038038
Pb | Lα | LiF | PbF2 | 40 | 20 | 0.11263
Th | Mα | PETH | ThO2 | 40 | 20 | 0.013977
U | Mβ | PETH | U | 40 | 20 | 0.024733