| Table 2: Electron microprobe concentrations for depth-profile zircons and AS3 zircon standards |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analysis description | Concentrations (ppm) |  |  |  |  |  |  |  |
|  | U | Th |  |  |  |  |  |  |
| Polished-grain AS3 standard compositionsa |  |  |  |  |  |  |  |  |
| AS3_mt2_rowH_gr2_sp1 | -----b | 428 |  |  |  |  |  |  |
| AS3_mt2_rowH_gr4_sp1 | 250 | 152 |  |  |  |  |  |  |
| AS3_mt2_rowH_gr6_sp1 | -----b | 721 |  |  |  |  |  |  |
| AS3_mt2_rowH_gr10_sp1 | 247 | 142 |  |  |  |  |  |  |
| AS3_mt2_rowH_gr11_sp1 | 274 | 135 |  |  |  |  |  |  |
| AS3_mt2_rowH_gr16_sp1 | 481 | 292 |  |  |  |  |  |  |
| AS3_mt2_rowH_gr17_sp1 | 583 | 282 |  |  |  |  |  |  |
| AS3_mt2_rowI_gr11_sp1 | 250 | 178 |  |  |  |  |  |  |
| AS3_mt2_rowI_gr13_sp1 | 401 | 276 |  |  |  |  |  |  |
| AS3_mt2_rowI_gr17_sp1 | 263 | 96 |  |  |  |  |  |  |
| Geometric mean | 325 | 226 |  |  |  |  |  |  |
| Geometric mean for prev. published AS3 datac | 320 | 223 |  |  |  |  |  |  |
| Depth-profile zircon surface compositionsa |  |  |  |  |  |  |  |  |
| jabs_mt2_rowA_gr3_sp1 | 1043 | -----b |  |  |  |  |  |  |
| jabs_mt2_rowA_gr4_sp1 | 1591 | 115 |  |  |  |  |  |  |
| jabs_mt2_rowA_gr16_sp1 | 3072 | 507 |  |  |  |  |  |  |
| jabs_mt2_rowB_gr16_sp1 | 604 | -----b |  |  |  |  |  |  |
| jabs_mt2_rowC_gr3_sp1 | 1256 | 331 |  |  |  |  |  |  |
| jabs_mt2_rowC_gr3_sp2 | 3020 | 4060 |  |  |  |  |  |  |
| jabs_mt2_rowC_gr3_sp3 | 735 | 207 |  |  |  |  |  |  |
| jabp_mt2_rowD_gr1_sp1 | 366 | 90 |  |  |  |  |  |  |
| jabp_mt2_rowD_gr2_sp1 | 1101 | 208 |  |  |  |  |  |  |
| jabp_mt2_rowD_gr6_sp1 | 1392 | 772 |  |  |  |  |  |  |
| jabp_mt2_rowD_gr16_sp1 | 1969 | 660 |  |  |  |  |  |  |
| jabp_mt2_rowE_gr1_sp1 | 1406 | 176 |  |  |  |  |  |  |
| Semi-quantitative SIMS data range for zircon surfacesd | 305 - 3371 | 98 - 1439 |  |  |  |  |  |  |
| a Quantitative electron microprobe WDS anayses obtained using JEOL JXA-8600 at Yale University with operating conditions of 15 kV, 50 nA, and 20?m beam spot. Natural and synthetic standards, off-peak background corrections, and ?(?z) matrix corrections used for analyses. Count times were 450 sec (on-peak) and 225 sec (high and low off-peak backgrounds). |  |  |  |  |  |  |  |  |
| b Data not available. |  |  |  |  |  |  |  |  |
| c AS3 standard data from Paces, J. B., and Miller, J. D. (1993). |  |  |  |  |  |  |  |  |
| d Semi-quantitative estimates based on U/94Zr2O, Th/94Zr2O, and 204Pb/94Zr2O relative to that of newly measured and Paces and Miller (1993) concentrations for AS3 standard. |  |  |  |  |  |  |  |  |