Appendix 1. XRF and ICP-MS detection limits and uncertainties

| Element | Method | Units | Detection limit |  | Element | Method | Units | Detection limit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SiO2 | XRF | wt.% | 0.01 |  | Ce | ICP-MS | ppm | 0.1 |
| Al2O3 | XRF | wt.% | 0.01 |  | Cs | ICP-MS | ppm | 0.1 |
| CaO | XRF | wt.% | 0.01 |  | Dy | ICP-MS | ppm | 0.05 |
| MgO | XRF | wt.% | 0.03 |  | Er | ICP-MS | ppm | 0.05 |
| Na2O | XRF | wt.% | 0.02 |  | Eu | ICP-MS | ppm | 0.05 |
| K2O | XRF | wt.% | 0.01 |  | Ga | ICP-MS | ppm | 1 |
| Fe2O3 | XRF | wt.% | 0.01 |  | Gd | ICP-MS | ppm | 0.05 |
| MnO | XRF | wt.% | 0.01 |  | Ge | ICP-MS | ppm | 1 |
| TiO2 | XRF | wt.% | 0.01 |  | Hf | ICP-MS | ppm | 1 |
| P2O5 | XRF | wt.% | 0.01 |  | Ho | ICP-MS | ppm | 0.05 |
| Cr2O3 | XRF | wt.% | 0.01 |  | La | ICP-MS | ppm | 0.1 |
| LOI | XRF | wt.% | 0.01 |  | Lu | ICP-MS | ppm | 0.05 |
| Rb | XRF | ppm | 2 |  | Mo | ICP-MS | ppm | 2 |
| Sr | XRF | ppm | 2 |  | Nb | ICP-MS | ppm | 1 |
| Y | XRF | ppm | 2 |  | Nd | ICP-MS | ppm | 0.1 |
| Zr | XRF | ppm | 2 |  | Pb | ICP-MS | ppm | 5 |
| Nb | XRF | ppm | 2 |  | Pr | ICP-MS | ppm | 0.05 |
| Ba | XRF | ppm | 20 |  | Rb | ICP-MS | ppm | 0.2 |
| Al | ICP-MS | wt.% | 0.01 |  | Sm | ICP-MS | ppm | 0.1 |
| Ba | ICP-MS | ppm | 0.5 |  | Sn | ICP-MS | ppm | 1 |
| Ca | ICP-MS | wt.% | 0.01 |  | Tb | ICP-MS | ppm | 0.05 |
| Cr | ICP-MS | ppm | 10 |  | Th | ICP-MS | ppm | 0.1 |
| Fe | ICP-MS | wt.% | 0.01 |  | Tl | ICP-MS | ppm | 0.5 |
| K | ICP-MS | wt.% | 0.01 |  | Tm | ICP-MS | ppm | 0.05 |
| Li | ICP-MS | ppm | 10 |  | U | ICP-MS | ppm | 0.05 |
| Mg | ICP-MS | wt.% | 0.01 |  | Y | ICP-MS | ppm | 0.5 |
| Mn | ICP-MS | ppm | 10 |  | Yb | ICP-MS | ppm | 0.1 |
| Ni | ICP-MS | ppm | 5 |  |  |  |  |  |
| P | ICP-MS | wt.% | 0.01 |  |  |  |  |  |
| Sc | ICP-MS | ppm | 5 |  |  |  |  |  |
| Sr | ICP-MS | ppm | 0.1 |  |  |  |  |  |
| Ti | ICP-MS | wt.% | 0.01 |  |  |  |  |  |
| V | ICP-MS | ppm | 5 |  |  |  |  |  |
| Zn | ICP-MS | ppm | 5 |  |  |  |  |  |
| Zr | ICP-MS | ppm | 0.5 |  |  |  |  |  |
| Bi | ICP-MS | ppm | 0.1 |  |  |  |  |  |
| Cd | ICP-MS | ppm | 0.2 |  |  |  |  |  |

The analytical uncertainty of XRF analyses (2) is ±2% for values greater than 20 times the detection limit and for ICP-MS analyses it is ±10% for values greater than 20 times the detection limit.  For values below 20 times the detection limit, the error is ±100% for both XRF and ICP-MS analyses.